## Loading
Loading | [5 empty] | Enter your loading in the table to the left.
Name | Energy (W) | Amperage (A) | Daily Use (H) | Daily Energy Cons. (WH) | Domestic Voltage (V) | 230
Hoover | 1400 | 6.087 | 0.08 | 112 | Total Daily Consumption (WH) | 2217
Microwave | 1250 | 5.4348 | 0.08 | 100
Washing Machine | 360 | 1.5652 | 0.5 | 180 | Energy Required After CC. Loss (WH) | 2333.6842
PC | 200 | 0.86957 | 0 | 0 | Energy Required After Bat. Loss (WH) | 2592.9825
TV | 170 | 0.73913 | 4 | 680 | Energy Required After Inv. Loss (WH) | 2881.0916
Sound | 50 | 0.21739 | 0.5 | 25 |  |  |  | inv wattage
Laptop | 40 | 0.17391 | 6 | 240 | Min. Inverter Rating (W) | 3525 |  | 1000
Freezer | 21 | 0.091304 | 24 | 504 | Min. Inverter Draw Amperage (A) | 73.4375
Fridge | 14 | 0.06087 | 24 | 336 | Min. Bank Draw Amperage (A) | 24.4792 |  | 20.8333
Hudl | 10 | 0.043478 | 1 | 10 |  |  |  | 3.4722
Phone | 5 | 0.021739 | 4 | 20 | Inverter Efficiency (%) | 90
Radio | 5 | 0.021739 | 2 | 10 | Actual Inverter Rating (W) | 3600
[5 empty] | Actual Inverter Draw Amperage (A) | 75
Min. To Hr. Calc. | 5 | Mins | 0.083333 | Hours | Actual Bank Draw Amperage (A) | 25
Inverter Wattage (W)
2000
Inverter Amperage (A)
41.6667
Note on I5: Antony Cartwright: Total amount of whatt hours consumed in a day.
Note on I7: Antony Cartwright: Compensating for charge controller inefficiency.
Note on I8: Antony Cartwright: Compensating for battery inefficiency.
Note on I9: Antony Cartwright: Compensating for inverter inefficiency. This is the recommended energy target.
Note on I11: Antony Cartwright: This is the minimum rating of inverter you should use.
Note on I12: Antony Cartwright: This is the minimum amount of amperage which your battery bank wiring should deliver.
Note on I13: Antony Cartwright: The minimum amount each bank's wiring should be able to deliver.
Note on I16: Antony Cartwright: The inverter rating you plan on using - if any.

## Panel Banks
Panel Banks |  |  |  |  | Enter your panel bank details in the table to the left.
Name | Max. Voltage(V) | Max. Amperage (A) | Max. Energy (W) | Avg. Voltage (V) | 120
Bank 1 | 120 | 7.43 | 891.6 | Total Amperage (A) | 14.86
Bank 2 | 120 | 7.43 | 891.6 | Total Energy (W) | 1783.2
0
|  |  | 0 | Daily Sunlight (H) | 2
0
|  |  | 0 | Daily Energy Produced (W) | 3566.4 | 2881.0916
0
|  |  | 0 | Charge Cont. Efficiency (%) | 95
|  |  | 0 | Charge Cont. Amperage (A) | 37.15
|  |  | 0 | Bank Amperage (A) | 12.3833
0
0
NB: A bank is a collection of one or more panels wired in series.
Banks are wired together in parallel.
Note on H5: Antony Cartwright: Total amperage going to the charge controller. Determines panel cable thickness.
Note on H8: Antony Cartwright: Estimated amount of hours of appropriate irradiation. Between 2-6 on average.
Note on H10: Antony Cartwright: Daily energy produced by the array.
Note on H13: Antony Cartwright: Charge controller amperage. Energy produced, converted into the bank voltage.

## Battery Banks
Battery Banks |  |  | Enter your bank details in the table.
Name | Capacity (AH) | Total Capacity (AH) | 210
Bank 1 | 70 | Total Banks | 3
Bank 2 | 70 | Battery Efficiency (%) | 90
Bank 3 | 70 | Bank Voltage (V) | 48
|  | Days Storage Required | 1
|  | Energy Required (WH) | 2881.0916
|  | Energy Required (AH) | 60.0227
|  | Max. Discharge Rate (%) | 20
|  | Capacity Needed (AH) | 300.1137
NB: A bank is a collection of one or more batteries wired in series.
Banks are wired together in parallel.
Note on F4: Antony Cartwright: Your total battery capacity.
Note on F7: Antony Cartwright: Bank voltage, usually; 12v, 24v, 36v or 48v.
Note on F9: Antony Cartwright: Days of storage required in case of overuse or no sun for a day.
Note on F10: Antony Cartwright: Total storage capacity required in WH assuming 100% discharge.
Note on F11: Antony Cartwright: Total storage capacity required in AH assuming 100% discharge.
Note on F13: Antony Cartwright: Recommended 10-50%, the lower, the better. 20% is deemed the most efficient.
Note on F14: Antony Cartwright: Total capacity needed in order to meet requirements.

## Wiring Guide
Wiring Guide
| Amperage (A) | Min. Cable Thickness (mm2)
Solar Cable | 14.86 | 3
Charge Controller | 37.15 | 7
Inverter | 75 | 13
Battery Bank | 25 | 5
NB: Estimation assumes a 2 meter length cable maximum.
Note on C5: Antony Cartwright: The amperage your solar cable must carry from the panels to the charge controller.
Note on C6: Antony Cartwright: The amperage your cable must carry from the charge controller to the battery bank box.
Note on C7: Antony Cartwright: The amperage your cable must carry from the battery bank box to the inverter.
Note on C8: Antony Cartwright: The amperage your cable must carry from each battery bank to the battery box.